## Slide 1: Solar Module Modeling with Multiple Shading Levels and Multiple Bypass Diodes
Tianheng Tu
Electrical Engineering Department, UCLA
http://eda.ee.ucla.edu

## Slide 2: Outline
Previous Model Problems
Preliminaries
Colony-Wise Model
N-Colony Model
Experimental Results
Conclusion and Future Work

## Slide 3: Previous Model Problems
2 Limitations for the old Colony-Wise model and N-Colony model
  Only can support 2 shading levels
  Only can support 2 bypass diodes per solar cell chain
New models can support N shading levels with N bypass diodes per solar cell chain

## Slide 4: Preliminaries – One-Diode Model
One-Diode model, the equivalent circuit diagram of a single cell.
    It’s the base of the Ground Truth model.

## Slide 5: Preliminaries – Ground Truth Model
Ground Truth Model: model each cell with One-Diode Model, then attach the bypass diodes.
We also define a colony in a PV module as following:
  A colony is a region includes a bypass diodes and all solar cells paralleled to it.

## Slide 6: Preliminaries – Notations
Shading Effects: Non-uniform shading -> Iph is different for each solar cell in a PV module.
  Notation:
Number of bypass diodes in a solar cell chain:

## Slide 7: Colony-Wise Model
Use 2 Macro Cell to represent a Colony
Macro Cell is also modeled by One-Diode model
  (a) One colony with solar cells
  (b) One colony model in Colony-Wise model
  (c) Circuit diagram of a colony modeled by Colony-Wise model

## Slide 8: Colony-Wise Model Parameter Generation
Step 1. Find Max/Min Shading Level in each colony
Step 2. Count number of cells belong to Max/Min SL in each colony

## Slide 9: Colony-Wise Model Parameter Generation
Step 3. Find other parameters based on the following table
Parameter | Max Macro Cell | Min Macro Cell
Parameter | Max Macro Cell | Min Macro Cell

## Slide 10: N-Colony Model
Further lump the Ground Truth Model
Model a PV module by Super Colony
A Super Colony consists of a Super Cell and a Bypass Diode
  (a) Equivalent circuit of one super colony in the N-Colony model
  (b) Diagram of the N-Colony model of a PV module

## Slide 11: N-Colony Model Parameters
    Step 1. Super Colony Generation
  Find of each colony
  For the chain of solar cell, we have the SL sequence: .
  Reorder the above sequence:
  , s.t.
  Build All Min Matrix:
Super Colony in the N-Colony model, its is:

## Slide 12: N-Colony Model Parameters
    Step 2. Cell Shading Ratio () , Colony Shading Ratio () and Shading Ratio ()
  Assume each chain has bypass diodes:
  we have , and
  is the number of solar cell with shading level . A solar cell has shading level when its satisfies:
  is the number of colonies with shading level . The definition of a colony of shading level is:

## Slide 13: N-Colony Model Parameters
Step 3. Find other parameters based on the following table
Parameter | Super Colony i
Parameter | Super Colony i

## Slide 14: N-Colony Model Parameters
Step 4. Curve Fitting for all s, s and s.
  Minimize the following objective function:
We use simplex method to find the optimal solution

## Slide 15: Experiments - Settings
Mltilevel shading effects representation:
Ratio for each shading level:
In our experiment: and three ratios, ,
6 PV module configurations: 20s2p (2 bp), 20s4p (2 bp), 30s2p (2 bp) and 20s2p (3 bp), 20s4p (3 bp), 30s2p (3 bp)

## Slide 16: Experiments - Results
Accuracy: in terms of MPP (maximum power point) and CORR (P-V curve correlation)

## Slide 17: Experiments - Results
Colony-Wise Model:
  The average MPP error is 0.81%, and the average CORR is 0.998 when
  The average MPP error is 0.62%, and the average CORR is 0.999 when

## Slide 18: Experiments - Results
N-Colony Model:
  The average MPP error is 5.28%, and the average CORR is 0.96 when
  The average MPP error is 1.46%, and the average CORR is 0.91 when

## Slide 19: Experiments - Results
Speed Ups
PV Module Config | GT Model | CW Model (speed up) | NC Model (speed up)
20s2p (2 bp) | 1143s | 252s (4.53x) | 164s (6.97x)
20s4p (2 bp) | 2106s | 441s (4.77x) | 153s (13.76x)
30s2p (2 bp) | 1449s | 297s (4.88x) | 149s (9.72x)
20s2p (3 bp) | 1116s | 351s (3.18x) | 243s (4.60x)
20s4p (3 bp) | 2196s | 613s (3.58x) | 225s (9.76x)
30s2p (3 bp) | 1656s | 432s (3.83x) | 231s (7.17x)

## Slide 20: Conclusions and Future Work
Curve Fitting for N-Colony Model when still has problem, error is high, and fitting is slow
Further reduce model order to make the Table-Based N-Colony Model

## Slide 21: Q&A
Thank you!
Address comments to lhe@ee.ucla.edu